## Instructions
ENERGY STAR® UPS Test Reporting Template - Instructions
This Test Reporting Template is to be used for recording data/measurements in accordance with the Version 1.0 ENERGY STAR UPS Final Test Method. This template includes five worksheets, two of which are to be completed for the testing of Ac-output UPSs and the other two for Dc-output UPSs. The Test Equipment Information worksheet is to be completed for all lab equipment used during testing. Calculation cells are formatted as follows, and are locked to prevent editing:
Calculation

## Test Equipment Information
ENERGY STAR® UPS Test Reporting Template - Test Equipment Information
Equipment Type | Manufacturer | Model Number | Serial Number | Calibration Due Date

## Ac-output UPS Information
ENERGY STAR® UPS Test Reporting Template: Ac-output UPS Information
Laboratory Information
Laboratory Name
Contact Name
Phone Number
Fax Number
Mailing Address
Email Address
Date of Agreement Between Laboratory and Manufacturing Partner
Date Sample Testing Began
Date Sample Testing Completed
Test Conditions
Ambient Room Temperature | °C
Ambient Relative Humidity | %
Test Equipment Information
Meter Manufacturer and Model #
Ac Line Voltage Source Manufacturer and Model #
Other
Unit Under Test General Information
Manufacturer
Single-configuration UPS/Modular UPS Minimum Configuration - Model Name
Single-configuration UPS/Modular UPS Minimum Configuration - Model Number
Modular UPS Maximum Configuration - Model Name
Modular UPS Maximum Configuration - Model Number
Modular UPS Intermediate Configuration(s) - Model Name(s)
Modular UPS Intermediate Configuration(s) - Model Number(s)
Serial Number
Production Date
Tested Input Voltage (per Table 1 of ENERGY STAR Test Method) | V
Tested Input Frequency (per Table 1 of ENERGY STAR Test Method) | Hz
Tested Output Voltage | V
Tested Output Frequency | Hz
Unit Under Test Configuration
Dimensions - height | mm
Dimensions - width | mm
Dimensions - depth | mm
Single-normal-mode UPS or Multiple-normal-mode UPS?
Firmware Revision and Configuration Number
Redundancy as Tested (N, N+1, N+N, etc.)
Non-standard Unit Configuration Information
Manufacturer-provided Testing Guidance
Energy Storage Device
Tested with internal energy storage system connected?1 (Y/N)
Internal energy storage system make(s)/model(s)
Internal energy storage technology/chemistry
Internal energy storage system capacity | Wh
1 The UPS may be adjusted to disable any alarms, indications, or default detection mechanisms that may result from disconnecting the energy storage system, as long as the controls necessary to do so are natively present on the UPS or are included in end user software.

## Ac-output UPS Measurements
ENERGY STAR® UPS Test Reporting Template: Ac-output UPS Measurements
Non-modular and Modular UPS
Representative Models Under Test2
| Single-configuration UPS/ Modular UPS Minimum Configuration | UPS Maximum Configuration (Modular UPS only)
Rated Maximum Apparent Output Power |  |  | VA
Rated Maximum Real Output Power |  |  | W
2 For Modular UPSs, the minimum and maximum configurations are tested. All intermediate configurations qualifying for ENERGY STAR are listed in previous "Unit Under Test General Information" section. All other UPSs report data for a single configuration.
ENERGY STAR Efficiency Values - Single-normal-mode or Multiple-normal-mode (Lowest Input Dependency3)
Representative Models Under Test
| Single-configuration UPS/ Modular UPS Minimum Configuration | UPS Maximum Configuration (Modular UPS only)
Input Dependency of Normal Mode(s) Tested (VFD, VI, or VFI)4
Manufacturer-specified Stabilization Time |  |  | minutes
Input Power Factor at 100% Load
Measured 15 Minute Average Real Output Power at 100% Load |  |  | W
Eff1 Calculation (5.B.3) |  |  | %
Eff2 Calculation (5.B.5) |  |  | %
% Difference Between Eff1 and Eff2 (5.B.6) |  |  | %
15 Minute Efficiency Calculation at 100% Load |  |  | %
Measured 15 Minute Average Real Output Power at 75% Load |  |  | W
Eff1 Calculation (5.B.3) |  |  | %
Eff2 Calculation (5.B.5) |  |  | %
% Difference Between Eff1 and Eff2 (5.B.6) |  |  | %
15 Minute Efficiency Calculation at 75% Load |  |  | %
Measured 15 Minute Average Real Output Power at 50% Load |  |  | W
Eff1 Calculation (5.B.3) |  |  | %
Eff2 Calculation (5.B.5) |  |  | %
% Difference Between Eff1 and Eff2 (5.B.6) |  |  | %
15 Minute Efficiency Calculation at 50% Load |  |  | %
Measured 15 Minute Average Real Output Power at 25% Load |  |  | W
Eff1 Calculation (5.B.3) |  |  | %
Eff2 Calculation (5.B.5) |  |  | %
% Difference Between Eff1 and Eff2 (5.B.6) |  |  | %
15 Minute Efficiency Calculation at 25% Load |  |  | %
Measured 15 Minute Average Real Input Power at 0% Load |  |  | W
ENERGY STAR Efficiency Values - Multiple-normal-mode only (Highest Input Dependency)
| Single-configuration UPS/ Modular UPS Minimum Configuration | UPS Maximum Configuration (Modular UPS only)
Input Dependency of Normal Mode(s) Tested (VFI, VI, or VFD)
Manufacturer-specified Stabilization Time |  |  | minutes
Input Power Factor at 100% Load
Measured 15 Minute Average Real Output Power at 100% Load |  |  | W
Eff1 Calculation (5.B.3) |  |  | %
Eff2 Calculation (5.B.5) |  |  | %
% Difference Between Eff1 and Eff2 (5.B.6) |  |  | %
15 Minute Efficiency Calculation at 100% Load |  |  | %
Measured 15 Minute Average Real Output Power at 75% Load |  |  | W
Eff1 Calculation (5.B.3) |  |  | %
Eff2 Calculation (5.B.5) |  |  | %
% Difference Between Eff1 and Eff2 (5.B.6) |  |  | %
15 Minute Efficiency Calculation at 75% Load |  |  | %
Measured 15 Minute Average Real Output Power at 50% Load |  |  | W
Eff1 Calculation (5.B.3) |  |  | %
Eff2 Calculation (5.B.5) |  |  | %
% Difference Between Eff1 and Eff2 (5.B.6) |  |  | %
15 Minute Efficiency Calculation at 50% Load |  |  | %
Measured 15 Minute Average Real Output Power at 25% Load |  |  | W
Eff1 Calculation (5.B.3) |  |  | %
Eff2 Calculation (5.B.5) |  |  | %
% Difference Between Eff1 and Eff2 (5.B.6) |  |  | %
15 Minute Efficiency Calculation at 25% Load |  |  | %
Measured 15 Minute Average Real Input Power at 0% Load |  |  | W
3The unit is tested in the highest efficiency sub-mode of each tested normal mode.
4 VFD: Voltage and Frequency Dependent; VI: Voltage Independent; VFI: Voltage and Frequency Independent

## Dc-output UPS Information
ENERGY STAR® UPS Test Reporting Template: Dc-output UPS Information
Laboratory Information
Laboratory Name
Contact Name
Phone Number
Fax Number
Mailing Address
Email Address
Date of Agreement Between Laboratory and Manufacturing Partner
Date Sample Testing Began
Date Sample Testing Completed
Test Conditions
Ambient Room Temperature | °C
Ambient Relative Humidity | %
Test Equipment Information
Meter Manufacturer and Model #
Ac Line Voltage Source Manufacturer and Model #
Other
Unit Under Test General Information
Manufacturer
Model Name
Ac-output UPS System Model Number(s)
Serial Number
Rectifier Module Model Number
Production Date
Tested Input Voltage (per Table 1 of ENERGY STAR Test Method) | V ac
Tested Input Frequency (per Table 1 of ENERGY STAR Test Method) | Hz
Tested Output Voltage | V dc
Unit Under Test Configuration
Dimensions - height | mm
Dimensions - width | mm
Dimensions - depth | mm
Firmware Revision and Configuration Number
Manufacturer-provided Unit Configuration Information
Manufacturer-provided Testing Guidance
Energy Storage Device
Tested with internal energy storage system connected?5 (Y/N)
Internal energy storage system make(s)/model(s)
Internal energy storage technology/chemistry
Internal energy storage system capacity | Wh
5 The UPS may be adjusted to disable any alarms, indications, or default detection mechanisms that may result from disconnecting the energy storage system, as long as the controls necessary to do so are natively present on the UPS or are included in end user software.

## Dc-output UPS Measurements
ENERGY STAR® UPS Test Reporting Template: Dc-output UPS Measurements
Specifications
Dc-output UPS System Representative Models Under Test6
|  | Single-configuration UPS/ Modular UPS Minimum Configuration | UPS Maximum Configuration (Modular UPS only)
Rated Maximum Real Output Power |  |  |  | W
6 For Modular Dc-output UPS Systems, the minimum and maximum configurations are tested. All intermediate configurations qualifying for ENERGY STAR are listed in a later section. All other UPSs report data for a single configuration.
ENERGY STAR Efficiency Values
| System Rectifier Module | Dc-output UPS System Representative Models Under Test
|  | Single-configuration UPS/ Modular UPS Minimum Configuration | UPS Maximum Configuration (Modular UPS only)
ENERGY STAR weighted calculation of average efficiency |  |  |  | %
Manufacturer-specified Stabilization Time |  |  |  | minutes
Input Power Factor at 100% Load
Measured 15 Minute Average Real Output Power at 80% Load |  |  |  | W
Eff1 Calculation (5.B.3) |  |  |  | %
Eff2 Calculation (5.B.5) |  |  |  | %
% Difference Between Eff1 and Eff2 (5.B.6) |  |  |  | %
15 Minute Efficiency Calculation at 80% Load |  |  |  | %
Measured 15 Minute Average Real Output Power at 70% Load |  |  |  | W
Eff1 Calculation (5.B.3) |  |  |  | %
Eff2 Calculation (5.B.5) |  |  |  | %
% Difference Between Eff1 and Eff2 (5.B.6) |  |  |  | %
15 Minute Efficiency Calculation at 70% Load |  |  |  | %
Measured 15 Minute Average Real Output Power at 60% Load |  |  |  | W
Eff1 Calculation (5.B.3) |  |  |  | %
Eff2 Calculation (5.B.5) |  |  |  | %
% Difference Between Eff1 and Eff2 (5.B.6) |  |  |  | %
15 Minute Efficiency Calculation at 60% Load |  |  |  | %
Measured 15 Minute Average Real Output Power at 50% Load |  |  |  | W
Eff1 Calculation (5.B.3) |  |  |  | %
Eff2 Calculation (5.B.5) |  |  |  | %
% Difference Between Eff1 and Eff2 (5.B.6) |  |  |  | %
15 Minute Efficiency Calculation at 50% Load |  |  |  | %
Measured 15 Minute Average Real Output Power at 40% Load |  |  |  | W
Eff1 Calculation (5.B.3) |  |  |  | %
Eff2 Calculation (5.B.5) |  |  |  | %
% Difference Between Eff1 and Eff2 (5.B.6) |  |  |  | %
15 Minute Efficiency Calculation at 40% Load |  |  |  | %
Measured 15 Minute Average Real Output Power at 30% Load |  |  |  | W
Eff1 Calculation (5.B.3) |  |  |  | %
Eff2 Calculation (5.B.5) |  |  |  | %
% Difference Between Eff1 and Eff2 (5.B.6) |  |  |  | %
15 Minute Efficiency Calculation at 30% Load |  |  |  | %
Measured 15 Minute Average Real Input Power at 0% Load |  |  |  | W