Comments on Final Draft

Coca-Cola North America

03/20/2009

I wish to provide the following specific change to section 4.C. of the final draft version 2.0 specification.  The specific change is the addition of the blue-colored text shown in the section (below). 

C. Power Management Devices:  Equipment with energy management devices permanently installed, such that the operator is not able to adjust the settings, may be operational during the test period, if the energy management device will never change to a new integrated average product temperature after the test has been concluded or turn lighting off that would normally be operational. Energy management devices permanently installed that change the equipment's integrated average product temperature or turn off lighting after the test has been concluded must be disabled during the test period. 

With these additions, the statement in the Note box below the section becomes accurate, and the bulleted statement in Christopher Kent's cover letter becomes valid ("Clarification is provided to note that any standard accessory, even if is it is not factory-installed, should be tested installed and in the “ON” position."). 

Thank you for giving this consideration.  Please give me a telephone call if you need additional information or clarification.