## Every US Household
Annual Savings From Replacement of 1 Bulb in Every US Household
Cost of electricity | 0.1008 | $/kWh
Days in year | 365 | days
Carbon Emissions Factor | 1.535 | lbs CO2/ kWh
Savings Calculations
Bulb | Households or bulbs replaced | Hours Active | Energy Consumption (watts) |  | Energy Consumption Difference (watts) | Annual kWh Saving for US households (kWh) | Annual Dollar Savings for US households | Homes Lighting Equivalent (# of homes lit per year) | Emissions equivalent (lbs. of CO2) | Auto Emissions Equivalent (cars)*
|  |  | Standard | ENERGY STAR
Incandescent Replacement | 116900000 | 3 | 60 | 13 | 47 | 6016258500 | 606438856.8 | 3085260.7692 | 9234956797.5 | 805140.087
Assumptions
US households = 116,900,000
Replace 60 w incandescent with 13 w CFL
Average household uses 1,950 kWh annually for lighting
One kWh of electricity produces 1.535 lbs. of CO2
Average automobile produces 11,470 lbs. of CO2 per year
* Decrease in auto emission equivalency figures from 2005 to 2006 is due to a change in the CO2 emissions factor.

## 5 Most Used Fixtures
Savings Per Year From 5 Most Used Fixtures
Cost of electricity | 0.1008 | $/kWh
Days in year | 365 | days
Savings Calculations
|  | Hours |  | Energy Consumption (watts) |  | Annual Cost ($) |  | Annual | Annual Household | Annual $ savings | Annual kWh | Total Annual | Car equivalent
Fixture | Quantity | Active | # of bulbs | Standard | ENERGY STAR | Standard | ENERGY STAR | Savings | kWh Savings | for US households | for all US households | CO2 Emissions for U.S.
Kitchen Closed Ceiling | 1 | 4 | 3 | 180 | 60 | 26.4902 | 8.8301 | 17.6602 | 175.2
Living Room Table | 1 | 3 | 1 | 60 | 18 | 6.6226 | 1.9868 | 4.6358 | 45.99
Bath Wall | 1 | 2 | 3 | 180 | 39 | 13.2451 | 2.8698 | 10.3753 | 102.93
Outdoor Wall | 1 | 4 | 1 | 60 | 13 | 8.8301 | 1.9132 | 6.9169 | 68.62
Living Room Floor | 1 | 3 | 1 | 300 | 55 | 33.1128 | 6.0707 | 27.0421 | 268.275
[6 empty] | 88.3008 | 21.6705 | 66.6303 | 661.015 | 7789083472.8 | 73432564196.255 | 112718986041.2514 | 9827287.3619
Assumptions
ENERGY STAR watts from energystar.gov.
5 Most Used Fixtures are based on Lawrence Berkeley National Laboratory (LBNL) research (Lighting Market Sourcebook for the U.S.).
Hours active are dependent on room. Based on Lighting Research Center (LRC) research (The Lighting Pattern Book for Homes).
Based on a conversation with Sandra Vasconez, LRC, assumed: Number of bulbs per fixture
All fixtures but the living room floor lamp were incandescent; living room floor lamp was halogen torchiere.
Each household had one of each fixture type. Typical households, though, would have 2 table lamps.
Fixture replacement wattages based on typical wattages found in ENERGY STAR qualified fixtures per data captured through the qualification process.
Kitchen | 2 lamp, 32W linear T8 (input watts)
Living Room Table | 1 lamp, 18 Watt
Bath Wall | 3 lamp, 13 Watt
Outdoor Wall | 1 lamp, 13 Watt
Living Room Floor (Halogen) | 1 lamp, 55 Watt
US households = 116,900,000
Average automobile produces 11,470 lbs. of CO2 per year.
Note on L14: Grant: Updated the number of US households.
Note on M14: Grant: Used updated CO2 emissions factor for electricity (1.535 lbs CO2 / kWh

## 5 Most Used Bulbs - 13W CFL
Savings Per Year From 5 Most Used Bulbs - Using 13 watt ENERGY STAR CFL
Cost of electricity | 0.1008 | $/kWh
Days in year | 365 | days
Savings Calculations
|  |  | Energy Consumption (watts) |  | Annual Cost ($) |  | Savings
Bulb | Quantity | Hours Active | Standard | ENERGY STAR | Standard | ENERGY STAR
Incandescent/CFL | 5 | 4 | 60 | 13 | 44.1504 | 9.5659 | 34.5845

## 1 Bulb Savings Chart
1 ENERGY STAR CFL Savings Over Lifetime
Cost of electricity | 0.1008 | $/kWh | Carbon Dioxide Emissions Factor | 1.535 | lb/kWh
Days in year | 365 | days | Coal carbon content | 2.14 | lb CO2/lb coal
13W CFL - Benefits Over Lifetime
|  | Hours | Energy Consumption (watts) |  | Lifetime Energy Cost ($) |  | Lifetime | Lifetime kWh | Lifetime CO2 | Lifetime Coal
Fixture/CFL | Quantity | Active | Standard Wattage | ENERGY STAR | Standard | ENERGY STAR | Savings | Savings | Savings (lbs) | Savings (lbs)
CFL | 1 | 6000 | 60 | 13 | 36.288 | 7.8624 | 28.4256 | 282 | 432.87 | 202.2757
CFL | 1 | 6000 | 75 | 20 | 45.36 | 12.096 | 33.264 | 330 | 506.55 | 236.7056
CFL | 1 | 6000 | 100 | 25 | 60.48 | 15.12 | 45.36 | 450 | 690.75 | 322.7804
CFL | 1 | 6000 | 150 | 52 | 90.72 | 31.4496 | 59.2704 | 588 | 902.58 | 421.7664
Note: Wattages may vary - compare lumens to find equivalent light bulb. See comparison chart below.

## Every Child
1 ENERGY STAR CFL for Every Child - Annual Savings
Cost of electricity | 0.1008 | $/kWh
Days in year | 365 | days
Carbon Emissions Factor | 1.535 | lbs CO2/ kWh
Savings Calculations
| Bulbs replaced | Hours Active | Energy Consumption (watts) |  | Energy Consumption Difference (watts) | Annual kWh Saving | Annual Dollar Savings | Homes Lighting Equivalent (# of homes lit per year) | Emissions equivalent (lbs. of CO2) | Auto Emission Equivalent (cars)
|  |  | Standard | ENERGY STAR
1 bulb replaced for every child | 73131688 | 3 | 60 | 13 | 47 | 3763722322.92 | 379383210.1503 | 1930114.0118 | 5777313765.6822 | 503689.0816
Assumptions
Number of children: US Census Bureau 2005 estimates, 73.1 million children under age 18
Replace 60 w incandescent with 13 w CFL
Average household uses 1,950 kWh annual for lighting
One kWh of electricity produces 1.535 lbs. of CO2
Average automobile produces 11,470 lbs. of CO2 per year.
* The calculation considers only the annual savings and benefits that result from replacing CFLs.
Last year, the calculation recognized the lifetime savings and benefits that result from CFL use.