## Storage Data
ENERGY STAR Data Center Storage
Data Sheet for Round 1 Data Collection
Product ID | Value | Enabled? | Units | Notes
Vendor Name |  | -- | --
Product Family Name |  | -- | --
Product Number |  | -- | --
Link to Spec Sheet |  | -- | --
System Description |  | -- | --
SNIA Taxonomy Classification | (select) | -- | --
System Configuration | Value | Enabled? | Units | Notes
GSC Baseline Configuration |  | -- | --
Total Raw Storage Capacity |  | -- | GB
Total Configured Addressable Storage Capacity |  | -- | GB
Number of Logical Volumes Defined |  | -- | --
Average (Calculated) Addressable Storage Capacity per Logical Volume |  | -- | GB
Controller Details | Value | Enabled? | Units | Notes
Maximum Number of Controllers Possible |  | -- | --
Number of Controllers Installed |  | -- | --
RAID Capability | (select) | (select) | --
Controller Cache Size (per Controller) |  | -- | MiB
Battery Backup Capability | (select) | (select) | --
Mirrored Configuration Capability | (select) | (select) | --
Multi-Pathing Capability | (select) | (select) | --
Concurent Microcode Update Capability | (select) | (select) | --
Concurent OS Update | (select) | (select) | --
File System Details | Value | Enabled? | Units | Notes
Block I/O Capability? | (select) | (select) | --
File I/O Capability? | (select) | (select) | --
Configured File System |  | -- | --
Software Configuration Details | Value | Enabled? | Units | Notes
RAID Capability | (select) | (select) | --
MAID Capability | (select) | (select) | --
HDD Power Management Capability | (select) | (select) | --
Virtualization Capability | (select) | (select) | --
Deduplication Capability | (select) | (select) | --
System Mirroring Capability | (select) | (select) | --
Disk Scrubbing Capability | (select) | (select) | --
Global (Remote) Mirroring Capability | (select) | (select) | --
Snapshots Capability | (select) | (select) | --
Power Supply Type 1 Details | Value | Enabled? | Units | Notes
Number of Power Supplies Installed |  | -- | --
PSU Vendor (Optional) |  | -- | --
PSU Model Number (Optional) |  | -- | --
Redundant Configuration | (select) | -- | --
PSU Rated Power (3.3V Output) (per PSU) |  | -- | W
PSU Rated Power (5V Output) (per PSU) |  | -- | W
PSU Rated Power (12V Output) (per PSU) |  | -- | W
PSU Total Rated Power |  | -- | W
Nominal Input Voltage |  | -- | V
Power Supply Type 2 Details | Value | Enabled? | Units | Notes
Number of Power Supplies Installed |  | -- | --
PSU Vendor (Optional) |  | -- | --
PSU Model Number (Optional) |  | -- | --
Redundant Configuration | (select) | -- | --
PSU Rated Power (3.3V Output) (per PSU) |  | -- | W
PSU Rated Power (5V Output) (per PSU) |  | -- | W
PSU Rated Power (12V Output) (per PSU) |  | -- | W
PSU Total Rated Power |  | -- | W
Nominal Input Voltage |  | -- | V
Rack Details | Value | Enabled? | Units | Notes
Total Number of Drawers |  | -- | --
Maximum Drive Slots (per Drawer) |  | -- | --
Total Number HDD Installed |  | -- | --
Total Number SSD Installed |  | -- | --
Host Interface Type | (select) | -- | --
Host Interface Connection Speed |  | -- | GiB/s
Total Number Host Connections |  | -- | --
Total Number Active Connections |  | -- | --
Multi-Pathing Capability | (select) | (select) | --
Other Equipment |  | -- | --
Drawer Type 1 Details | Value | Enabled? | Units | Notes
Total Number Drawer Type 1 Installed |  | -- | --
Drawer Interface Type | (select) | -- | --
Drawer Interface Connection Speed |  | -- | GiB/s
Total Number Interface Connections per Drawer |  | -- | --
Total Number Active Connections per Drawer |  | -- | --
Multi-pathing Capability | (select) | (select) | --
Drive Technology | (select) | -- | --
Drive Raw Capacity |  | -- | GB
Drive Cache Size |  | -- | MiB
Drive Interface Type | (select) | -- | --
Drive Interface Connection Speed |  | -- | GiB/s
Drive Encryption Capability | (select) | (select) | --
Drive Compression Capability & Compression Ratio | (select) | (select) | --
Drive Low-Power Mode Capability | (select) | (select) | --
Drive Form Factor | (select) | -- | --
HDD Spindle Speed |  | -- | RPM
HDD Specified Random Read Seek Time |  | -- | ms
SSD Design | (select) | -- | --
SSD Specificed Random Reads |  | -- | IOPS (thou)
SSD Specified Random Writes |  | -- | IOPS (thou)
SDD Specified Latency Reads |  | -- | ms
SDD Specified Latency Writes |  | -- | ms
Drawer Type 2 Details | Value | Enabled? | Units | Notes
Total Number Drawer Type 1 Installed |  | -- | --
Drawer Interface Type | (select) | -- | --
Drawer Interface Connection Speed |  | -- | GiB/s
Total Number interface Connections per Drawer |  | -- | --
Total Number Active Connections per Drawer |  | -- | --
Multi-pathing Capability | (select) | (select) | --
Drive Technology | (select) | -- | --
Drive Vendor |  | -- | --
Drive Model Number |  | -- | --
Drive Raw Capacity |  | -- | GB
Drive Cache Size |  | -- | MiB
Drive Interface Type | (select) | -- | --
Drive Interface Connection Speed |  | -- | GiB/s
Drive Encryption Capability | (select) | (select) | --
Drive Compression Capability | (select) | (select) | --
Drive Low-Power Mode Capability | (select) | (select) | --
Drive Form Factor | (select) | -- | --
HDD Spindle Speed |  | -- | RPM
HDD Specified Random Read Seek Time |  | -- | ms
SSD Design | (select) | -- | --
SSD Specified Random Reads |  | -- | IOPS (thou)
SSD Specified Random Writes |  | -- | IOPS (thou)
SDD Specified Latency Reads |  | -- | ms
SDD Specified Latency Writes |  | -- | ms
Robotics / Tape Details (as appropriate) | Value | Enabled? | Units | Notes
Drives per Frame (Capability) |  | -- | --
Drives per Frame (Configured) |  | -- | --
Drive Type |  | -- | --
Drive Maximum Data Rate (Capability) |  | -- | --
Drive Maximum Data Rate (Configured) |  | -- | --
Cartridge Capacity per Frame |  | -- | GB
Robots per Frame (Capability) |  | -- | --
Robots per Frame (Configured) |  | -- | --
Input Power Characteristics | Value | Enabled? | Units | Notes
System Input Voltage |  | -- | V
Number of Phases |  | -- | --
System Input Frequency |  | -- | Hz
Power & Performance Data Collection | Value | Enabled? | Units | Notes
Data Source | (select) | -- | --
Online & Near-Online Systems | -- | -- | --
Active “A” - Average Power |  | -- | W
Active “A” - Average IOPS |  | -- | IOPS
Active “B” - Average Power |  | -- | W
Active “B” - Average IOPS |  | -- | IOPS
Active “C” - Average Power |  | -- | W
Active “C” - Average MiB/second |  | -- | MiB/s
Active “D” - Average Power |  | -- | W
Active “D” - Average MiB/second |  | -- | MiB/s
Active “E” - Average Power |  | -- | W
Active “E” - Average IOPS |  | -- | IOPS
Active “F” - Average Power |  | -- | W
Active “F” - Average IOPS |  | -- | IOPS
Active “G” - Average Power |  | -- | W
Active “G” - Average IOPS |  | -- | IOPS
Ready Idle |  | -- | W
Deep Idle |  | -- | W
Virtual & Removable Media Library Systems | -- | -- | --
Active “A” - Average Power |  | -- | W
Active “A” - Average MiB/second |  | -- | MiB/s
Active “B” - Average Power |  | -- | W
Active “B” - Average MiB/second |  | -- | MiB/s
Robotics Phase - Accumulated Energy |  | -- | W-h
Robotics Phase - Elapsed Time |  | -- | s
Ready Idle |  | -- | W
Deep Idle |  | -- | W
Test Environment | Value | Enabled? | Units | Notes
Temperature |  | -- | deg-C
Relative Humidity |  | -- | %
Test Meter Used |  | -- | --
Workload Generator Used |  | -- | --