Draft Energy Star® Specification for

Residential Ceiling Fans

## January 12, 2001

I.  Airflow Efficiency

Qualifying products shall meet the following minimum standards for airflow efficiency:

| Fan Speed | Qualifying Airflow | Efficiency Requirement |
| --- | --- | --- |
| Low | At least XX CFM | (250 CFM/watt |
| Medium | At least YY CFM | (150 CFM/watt |
| High | At least ZZ CFM | (100 CFM/watt |

Discussion:

The draft specification defines ceiling fan airflow efficiency on a performance basis: CFM (cubic feet per minute) of airflow per watt of power consumed by the motor and controls.  This treats the motor, blades, and controls as a system, allowing multiple approaches to reach a given efficiency level. Efficiency is to be measured on each of three fan speeds (low, medium and high). The final fan specification will identify the test method that must be used to measure airflow and power consumption. A variety of test methods are currently utilized by different manufacturers and laboratories in different countries, making it difficult to compare performance results among different products.  Current draft efficiency requirements are approximate, and may end up being revised in the final specification, after testing is conducted using a uniform measurement procedure.  The final specification will also establish minimum qualifying airflow requirements (currently depicted by XX, YY, and ZZ, above) for each of the three fan speeds.

II.  Controls

Qualifying products shall permit convenient consumer adjustment of ceiling fan motor direction (clock-wise and counter clock-wise) and fan speed.  This may be accomplished by means of one or more wall-mounted switch(es), a remote control, or pull chains sufficiently long to be reachable from any ceiling height up to 15 feet.  For those fans that can accommodate lighting, the lights and the fans must be controllable separately, allowing users to switch off lights during fan operation or operate the lights without using the fan.

Discussion

Fan motor speed and direction have a substantial impact on operating efficiency.  Many ceiling fans utilize fan-mounted switches such as pull chains and slide switches to change motor speed and direction.  Because these switches are often difficult to reach, especially in rooms with high ceilings, many users operate motors in the same direction and at the same speed year-round.  This can result in greater wind-chill during cold weather or insufficient airflow during warm weather, hampering the ability of ceiling fans to save energy.  Likewise, some fans may have their lighting and motors switched simultaneously, increasing energy consumption over what would result from independent motor and lighting operation.  By providing more convenient access to motor and lighting controls, the Energy Star labeling program aims to help users operate their ceiling fans more efficiently and improve comfort.

III.  Lighting

A.  Qualifying fans sold with integral light kits must meet one of the following requirements:

- Pin-based approach - The ceiling fan lighting system shall meet the requirements of the Energy Star specification for residential light fixtures; or

- Screw-based approach – The number of Energy Star-qualified screw-based bulbs needed to occupy each standard Edison-based socket shall be included within the fan packaging.

B.  Qualifying separate light kits (not sold with the fan itself) shall meet the requirements of the Energy Star specification for residential light fixtures.

Discussion:

On a national basis, the typical lighting provided with ceiling fans consumes more electricity than the fan motor itself.  As a result, it is very important than any energy efficiency labeling program associated with ceiling fans also address lighting efficiency.  The Energy Star program has already adopted labeling guidelines for dedicated fluorescent fixtures and screw-based compact fluorescent lamps (CFLs).  These specifications ensure that labeled lighting products provide high quality light with attractive color rendering, quick starting, and silent operation.

Either the pin-based or screw-based approach may be utilized by participating manufacturers.  It may prove less expensive and more convenient to utilize one hard-wired ballast and one or more pin-based lamps, however.  Such a design will tend to be more compact and require fewer components than utilizing separately ballasted screw-based CFLs for each socket.

# IV.  Noise

Qualifying products shall meet the following maximum standards for operational noise:

| Fan Speed | Maximum Sound Pressure Level (SPL) |
| --- | --- |
| Low | XX dB |
| Medium | YY dB |
| High | ZZ dB |

Discussion

As noted in Section I, above, each fan speed will be associated with a minimum airflow in CFM.  The final specification will state a test procedure for measuring fan noise. This specification will need to address, among other things: test chamber size and characteristics, type of measurement equipment, and type of sound being measured.  The specification could either measure total SPL or attempt to specify the particular harmonics that result from electrical and mechanical fan noise but are not the product of wind noise from the blades. Allowable noise levels will be higher for higher fan speeds.

V.  Warranty

Qualifying products shall provide a warranty of at least 15 years for all non-lighting parts of the ceiling fan system.  Fans sold with integral light kits shall also meet applicable warranty requirements for Energy Star labeled fixtures or bulbs:  three years for hard-wired ballasts and one year for lamps, if included.  Separate light kits shall also meet applicable warranty requirements for Energy Star labeled fixtures or bulbs:  three years for hard-wired ballasts and one year for lamps, if included.

Discussion:

One of the goals of the Energy Star labeling program is to maximize product longevity and cost effectiveness, reducing the energy waste associated with products discarded after early failure.  At the same time, substantial warranty periods encourage manufacturers to utilize high quality, long-lived components, which contribute significantly to consumer satisfaction. Energy Star labeled fans with light kits should provide substantial convenience value to consumers, especially when used in rooms with high ceilings, since lamp life will be significantly longer than with incandescent sources.

# Consumer Information

Qualifying products shall include the Energy Star label on their packaging according to EPA’s Label Usage Guidelines.  Their packaging shall also state airflow, power consumption, efficiency (CFM/watt) and noise at each of their three operating speeds.

Product operating and installation instructions shall include a short list of standardized information regarding how to operate the products efficiently.  This list shall include, at a minimum, information about the following topics (to be drafted in the final specification):

- adjusting fan speed and direction for season and room occupancy

- HVAC thermostat adjustment for energy savings when a ceiling fan is in use

- proper mounting distance from the ceiling to maximize efficient operation

- how to find proper replacement lamps for the light kit, if included

Discussion

Past research indicates that how a fan is used may be just as important to maximizing energy savings as the technology employed in its motor, blades, lighting, and controls.  Consumer information posted on the box will allow customers to make more informed choices among competing products.  Consumer information included in the box will help increase the likelihood that fans are operated efficiently by their users.