## Instructions
ENERGY STAR® Large Networking Equipment Test Reporting Template - Instructions
This Test Reporting Template is to be used for recording data/measurements in accordance with the ENERGY STAR Large Network Equipment Test Method.
The General tab contains basic information about the UUT as well as laboratory contact information. The Test Equipment Information tab contains test equipment information, such as model/serial number and calibration due date. The UUT Information tab contains product-specific information about the UUT including the model information and system settings. The Measurements tab contains the recorded values from the ENERGY STAR Large Network Equipment Test Method.
If you have any questions, please contact:
Bryan Berringer, DOE - Bryan.Berringer@ee.doe.gov

## Test Equipment Information
ENERGY STAR® Large Networking Equipment Test Reporting Template - Test Equipment Information
Equipment Type | Manufacturer | Model Number | Serial Number | Calibration Due Date

## Laboratory Information
ENERGY STAR® Large Networking Equipment Test Reporting Template - Laboratory Information
Laboratory Information
Laboratory Name
Contact Name
Phone Number
Fax Number
Mailing Address
Email Address
Date of Agreement Between Laboratory and Manufacturing Partner
Date Sample Testing Began
Date Sample Testing Completed
Test Conditions
Ambient Room Temperature | °C
Ambient Relative Humidity | %

## UUT Information
ENERGY STAR® Large Networking Equipment Test Reporting Template - UUT Information
Unit Under Test General Information
Manufacturer
Model Name
Model Number
Software/Firmware Version
Input Voltage Information
AC Input Voltage | V ac
AC Three-Phase Voltage | V ac
DC Input Voltage | V dc
Input Voltage Frequency | Hz
Input Voltage Total Harmonic Distortion | %
System Information
Number of Downlink Ports
Speed of Downlink Ports
Number of Uplink Ports
Speed of Uplink Ports
Additional Built-in Interface Ports
Maximum supported PoE Load | W
Number of UUT Ports Capable of Supplying PoE
Max PoE per Port | W
Number of Fans
Testing Information
Initial UUT Configuration Required for Variable Load Test
Initial UUT Configuration Required for Power over Ethernet Load Test
Network Layer Data Protocol(s) Used During Variable Load Test
Connection Topology Used During Variable Load Test

## Measurements
ENERGY STAR® Large Networking Equipment Test Reporting Template - Measurements
Variable Load Test - Full Port
Maximum Non-Drop Rate | Gpbs
Full Load Throughput | Gbps
Full Load Power Measured | W
30% Load Throughput | Gbps
30% Load Power Measured | W
10% Load Throughput | Gbps
10% Load Power Measured | W
Very Low Utilization Throughput | Gbps
Very Low Utilization Power Measured | W
Variable Load Test - Half Port
Maximum Non-Drop Rate (Qualification) | Gpbs
Full Load Throughput Applied | Gbps
Full Load Power Measured | W
Thirty Percent Throughput Applied | Gbps
Thirty Percent Power Measured | W
Ten Percent Throughput Applied | Gbps
Ten Percent Power Measured | W
Very Low Utilization Throughput Applied | Gbps
Very Low Utilization Power Measured | W
Power over Ethernet Load Test
Total PoE Load Set for 90% PoE Test | W
Measured AC Power for 90% PoE Test | W
Total PoE Load Set for 50% PoE Test | W
Measured AC Power for 50% PoE Test | W
Total PoE Load Set for 25% PoE Test | W
Measured AC Power for 25% PoE Test | W